## CLSNotes
Tasks |  |  |  |  | Notes
1) | Open Moab_Wetland_Q_COrivclass_with_ELS_WLA_2021.xlsx as the template to start with (this doc) |  |  |  | Kane Creek WLA |  | UT-0026204
| a) | This is Kane_Creek_WLA_2021.xlsm wasteload
2) | Collect previous info and comments |  |  |  | Permit Applications (provided) |  | Flow: USGS 09180500 Colorado River near Cisco, UT
| a) | Jeff Studenka is the permit writer |  |  | upstream, ambient, background |  | WQ: USGS 09183210 Colorado R Avove Mill Creek Near Moab, Utah
|  | i. | 2021 Permit App (DWQ-2021-017402) |  | effluent location (Outfall 001) |  | no data
3) | Find Q, WQ, and DMR locations
| a) | Find monitoring locations |  |  | elevation (ft) |  | 3955
|  | i. | Use Stangers "AWQMS_2021July_Label.kmz" in Google Earth |  | elevation drop (Google Earth-ft/mi) |  | 0.4
|  | ii. | In Google Earth "Moab Multiple WLAs", show the app location info, the WQ locations, etc. |  |  | upper elevation (ft) | 3957
|  | iii. | List the MLIDs of interest for upstream WQ (wlR) |  |  | bottom elevation (ft) | 3955
|  |  | 157 | USGS 09183210 Colorado R Avove Mill Creek Near Moab, Utah |  | transect distance (mi) | 5
|  |  | 85 | DWQ 4956540 COLORADO R BL MOAB WWTP OUTFALL | stream width (ft) |  | 640
|  |  | 3 | USGS 383256109354801 (D-26-21)10ccc Colorado River at King's Bottom | stream depth (ft) |  | 2
|  |  |  | Outfall 001 from proposed MBR plant | annual ave (current) flow (MGD) |  | 0.135
|  |  | 43 | DWQ 4955950 KANE SPRINGS CK AT MOUTH | max daily flow (MGD) |  | 0.27
|  | iv. | many other locations for background and analysis but not listed here or used |  | design flow (MGD) |  | 0.27
| b) | Get WQ data |  |  | contact name |  | Craig Weston
|  | i. | open wasteloadR web search |  | contact number |  | 801-318-7100
|  | ii. | add all sites in wlR (UtahDWQ, USGS, UGS sites) |  | BOD/TSS removal (%) |  | 97
|  | iii. | add all WQ data from wlr "210923-wasteloadR data-export.xlsx" as tab wlR |  | NH3 removal (%) |  | 86
|  |  | a. | split column for MLID to get site number. Just keep with agency and mlid | Additional data
|  |  | b. | add, year, month, season [=+IF(N2<=3,"winter",IF(N2<=6,"spring",IF(N2<=9,"summer","fall")))] for ActivityStartDate
|  |  | c. | add RVwND(a) column [=+IF(AJ21="Not Detected",BQ21/2,IF(AJ21="Detected Not Quantified", BQ21,AM21))]
|  |  | d, | add Units(a) column [=+IF(AJ21="Not Detected",BR21,IF(AJ21="Detected Not Quantified", BR21,AN21))]
|  |  | e. | add RVwND column [=+IF(AP21="ug/l",AO21/1000,AO21)]
|  |  | f. | add Units column [=+IF(AP21="ug/l","mg/l",AP21)]
|  |  | g. | *** add columns for corrected units and results (think there are ug/l and mg/l for same analyte but dif fraction)
|  |  | h. | insert 19 rows at top of sheet and add PivotTable for ave, min, max, count by MLID, fraction, date, and Analyte
| c) | Get DMR data
|  | i. | The facility is not constructed yet and therefore no effluent discharge data
|  | ii. | Studenka advised that this is similar to Courthouse Wash
|  | iii. | Use the same values as the Courthouse Wash WLA at this point in time
| d) | Get the Q data
|  | i. | Use USGS 09180500 (Colorado River near Cisco, UT) ~ 41 mi upstream for upgradient/background/ambient flow.
|  | ii. | similar to other Moab area WLAs
|  | iii. | Site was daily average from 1913 to 1917 and 1922 to present. Therefore, use the minimum of the 7Q10 over the entire period.
|  | iv. | Ran model, but then decide no need to get background data as no mixing zone and EOP
|  |  | a. | this is due to listed species, adtl study required.
4) | In wasteloadR (https://udwq.shinyapps.io/wasteloadr/), find any data
| a) | Beneficial use around Kane Creek area and upstream
|  | i. | Colorado River and tributaries, from Lake Powell to state line except as listed below: 1C,2A,3B,4
|  | ii. | Kane Canyon Creek and tributaries, from confluence with Colorado River to headwaters: 2B,3C,4
| b) | There are 2 different AU classifications in this local area
|  | i. | Colorado River-3 AU ID: UT14030005-003_00
|  | ii. | Kane Spring Wash AU ID: UT14030005-001_00

## metals_wqs
Metals Standards Calculator
Instructions: Input hardness into cell B4. Dissolved metals standards are calculated as function of hardness. Note that dissolved metals standards for Class 1C and 4 waters are independent of hardness.
Hardness as mg/l CaCO3 | 400 |  |  | According to Bill Anderson, well hardness about 200 mg/l. The river hardness at DWQ 4956540 ~ 420 mg/l. Use effluent hardness of 400 mg/l until more data available.
Designated Use | 1C | 3A-3D: Acute (1-Hour Average) |  |  | 3A-3D: Chronic (4-Day Average) |  |  | 4
| Dissolved | Total Recoverable | Conversion | Dissolved | Total Recoverable | Conversion | Dissolved | Dissolved
| µg/l | µg/l | Factor | µg/l | µg/l | Factor | µg/l | µg/l
Aluminum |  | 750 | 1 | 750 | 87 | 1 | 87
Arsenic | 10 | 340 | 1 | 340 | 150 | 1 | 150 | 100
Barium | 1000
Beryllium | 4
Cadmium | 10 | 7.382 | 0.886 | 6.5405 | 2.3878 | 0.851 | 2.0321 | 10
Chromium VI |  | 16 | 1 | 16 | 11 | 1 | 11
Chromium III |  | 5611.7027 | 0.316 | 1773.2981 | 268.2205 | 0.86 | 230.6696
Chromium | 50 | [6 empty] | 100
Copper |  | 51.6845 | 0.96 | 49.6171 | 30.4994 | 0.96 | 29.2794 | 200
Cyanide |  | 22 | 1 | 22 | 5.2 | 1 | 5.2
Iron |  | 1000 | 1 | 1000
Lead | 15 | 476.8178 | 0.589 | 280.8465 | 18.5809 | 0.589 | 10.9442 | 100
Mercury | 2 | 2.4 | 1 | 2.4 | 0.012 | 1 | 0.012
Nickel |  | 1515.9218 | 0.998 | 1512.89 | 168.541 | 0.997 | 168.0354
Selenium | 50 | 18.4 | 1 | 18.4 | 4.6 | 1 | 4.6 | 50
Silver | 50 | 41.0717 | 0.85 | 34.9109
Tributylin |  | 0.46 | 1 | 0.46 | 0.072 | 1 | 0.072
Zinc |  | 387.8303 | 0.978 | 379.298 | 387.8303 | 0.986 | 382.4007
| Hardness Calculator: |  |  | This is recent data; Ca and Mg from 1975-2019 with 12 recent samples since 2015.
| Calcium |  | 43.867 | mg/l as Ca
| Magnesium |  | 15.075 | mg/l as Mg
| Total Hardness |  | 171.5889 | mg/l as CaCO3
````

## Appendix A - Mass Balance
WASTELOAD ANALYSIS [WLA] |  |  |  |  | Date: | 2021-11-18
Appendix A: Mass Balance Mixing Analysis for Conservative Constituents
Discharging Facility: | Kane Springs Water Company
UPDES No: | UT-0026204
Permit Flow [MGD]: | 0.27 | Annual | Max. Daily
| 0.27 | Annual | Max. Monthly
Receiving Water: | Matheson Wetlands Preserve
Stream Classification: | 1C, 2A, 3B, 4
Stream Flows [cfs]: | 0 | All Seasons | Critical Low Flow
Fully Mixed: | YES
Acute River Width: | 100%
Chronic River Width: | 100%
Modeling Information
A mass balance mixing analysis was used to determine the effluent limits.
All model numerical inputs, intermediate calculations, outputs and graphs are available for
discussion, inspection and copy at the Division of Water Quality.
Effluent Limitations
Current State water quality standards are required to be met under a variety of conditions including
in-stream flows targeted to the 7-day, 10-year low flow (R317-2-9).
Other conditions used in the modeling effort reflect the environmental conditions expected
at low stream flows.
The calculations in this wasteload analysis utilize the maximum effluent discharge flow of 0.27 MGD. If the
discharger is allowed to have a flow greater than 0.27 MGD during 7Q10 conditions, and effluent limit
concentrations as indicated, then water quality standards will be violated. In order to prevent this from occuring,
the permit writers must include the discharge flow limititation as indicated above; or, include loading effluent
limits in the permit.
Effluent Limitations for Protection of Drinking Water (Class 1C Waters) (R317-2-14.1)
Physical | Concentration
Parameter | Minimum | Maximum
pH | 6.5 | 9
Bacteriological
E. coli (30 Day Geometric Mean) | 206 | (#/100 mL)
E. coli (Maximum) | 668 | (#/100 mL)
Metals-Dissolved Maximum
Maximum
Parameter | Standard1 | Background | Limit
Arsenic (µg/L) | 10 |  | 10
Barium (µg/L) | 1000 |  | 1000
Beryllium (µg/L) | 4 |  | 4
Cadmium (µg/L) | 10 |  | 10
Chromium (µg/L) | 50 |  | 50
Lead (µg/L) | 15 |  | 15
Mercury (µg/L)2 | 2 |  | 2
Selenium (µg/L) | 50 |  | 50
Silver (µg/L) | 50 |  | 50
Inorganics-Maximum
Maximum
Parameter | Standard1 | Background | Limit
Bromate (mg/L) | 0.01 |  | 0.01
Chlorite (mg/L) | 1 |  | 1
Fluoride (mg/L) | 4 |  | 4
Nitrates as N (mg/L) | 10 |  | 10
Radiological | Maximum Concentration
Parameter | Standard
Gross Alpha (pCi/L) | 15
Effluent Limitations for Protection of Recreation (Class 2A Waters) (R317-2-14.1)
Physical | Concentration
Parameter | Minimum | Maximum
pH | 6.5 | 9
Turbidity Increase (NTU) |  | 10
Bacteriological
E. coli (30 Day Geometric Mean) | 126 | (#/100 mL)
E. coli (Maximum) | 409 | (#/100 mL)
Effluent Limitations for Protection of Recreation (Class 2B Waters) (R317-2-14.1)
Physical | Concentration
Parameter | Minimum | Maximum
pH | 6.5 | 9
Turbidity Increase (NTU) |  | 10
Bacteriological (R317-2-14.1)
E. coli (30 Day Geometric Mean) | 206 | (#/100 mL)
E. coli (Maximum) | 668 | (#/100 mL)
Effluent Limitations for Protection of Aquatic Wildlife (Class 3B Waters) (R317-2-14.1)
Physical | Concentration
Parameter | Minimum | Maximum
pH | 6.5 | 9
Turbidity Increase (NTU) |  | 10
Temperature (deg C) |  | 27
Temperature Change (deg C) |  | 4
Dissolved Oxygen (mg/L) | Minimum Concentration
| ELS Present | Others Present
Instantaneous | 5 | 3
30-day Average | 5.5 | 5.5
7-day Average | 6 | 4
Inorganics | Chronic (30-day ave) |  |  | Acute (1-hour ave)
Parameter |  |  |  | Standard
Phenol (mg/L) |  |  |  | 0.01
Hydrogen Sulfide (Undissociated-mg/L) |  |  |  | 0.002
Total Residual Chlorine (mg/L) | 0.011 |  |  | 0.019
Ammonia-Total (mg/L)
| Chronic (30-day ave) |  |  | Acute (1-hour ave)
ELS Present
Season | Standard | Background | Limit | Standard | Background | Limit
Summer | 2.2109 |  | 2.2109 | 13.2529 |  | 13.2529
Fall | 2.2109 |  | 2.2109 | 13.2529 |  | 13.2529
Winter | 2.2109 |  | 2.2109 | 13.2529 |  | 13.2529
Spring | 2.2109 |  | 2.2109 | 13.2529 |  | 13.2529
ELS Absent
Season | Standard | Background | Limit | Standard | Background | Limit
Summer | 2.2109 |  | 2.2109 | 13.2529 |  | 13.2529
Fall | 2.2109 |  | 2.2109 | 13.2529 |  | 13.2529
Winter | 2.2109 |  | 2.2109 | 13.2529 |  | 13.2529
Spring | 2.2109 |  | 2.2109 | 13.2529 |  | 13.2529
Metals-Total Recoverable
| Chronic (4-day ave) |  |  | Acute (1-hour ave)
Parameter | Standard1 | Background | Limit | Standard1 | Background | Limit
Aluminum (µg/L) | 87 |  | 87 | 750 |  | 750
Arsenic (µg/L) | 150 |  | 150 | 340 |  | 340
Cadmium (µg/L) | 2.3878 |  | 2.3878 | 7.382 |  | 7.382
Chromium VI (µg/L) | 11 |  | 11 | 16 |  | 16
Chromium III (µg/L) | 268.2205 |  | 268.2205 | 5611.7027 |  | 5611.7027
Copper (µg/L) | 30.4994 |  | 30.4994 | 51.6845 |  | 51.6845
Cyanide (µg/L)2 | 5.2 |  | 5.2 | 22 |  | 22
Iron (µg/L) |  |  |  | 1000 |  | 1000
Lead (µg/L) | 18.5809 |  | 18.5809 | 476.8178 |  | 476.8178
Mercury (µg/L)2 | 0.012 |  | 0.012 | 2.4 |  | 2.4
Nickel (µg/L) | 168.541 |  | 168.541 | 1515.9218 |  | 1515.9218
Selenium (µg/L) | 4.6 |  | 4.6 | 18.4 |  | 18.4
Silver (µg/L) |  |  |  | 41.0717 |  | 41.0717
Tributylin (µg/L)2 | 0.072 |  | 0.072 | 0.46 |  | 0.46
Zinc (µg/L) | 387.8303 |  | 387.8303 | 387.8303 |  | 387.8303
1: Based upon a Hardness of 400 mg/l as CaCO3
2: Background concentration assumed 67% of chronic standard
Organics [Pesticides]
| Chronic (4-day ave) |  |  | Acute (1-hour ave)
Parameter | Standard | Limit |  | Standard | Limit
Aldrin (µg/L) |  |  |  | 1.5 | 1.5
Chlordane (µg/L) | 0.0043 | 0.0043 |  | 1.2 | 1.2
DDT, DDE (µg/L) | 0.001 | 0.001 |  | 0.55 | 0.55
Diazinon (µg/L) | 0.17 | 0.17 |  | 0.17 | 0.17
Dieldrin (µg/L) | 0.0056 | 0.0056 |  | 0.24 | 0.24
Endosulfan, a & b (µg/L) | 0.056 | 0.056 |  | 0.11 | 0.11
Endrin (µg/L) | 0.036 | 0.036 |  | 0.086 | 0.086
Heptachlor & H. epoxide (µg/L) | 0.0038 | 0.0038 |  | 0.26 | 0.26
Lindane (µg/L) | 0.08 | 0.08 |  | 1 | 1
Methoxychlor (µg/L) |  |  |  | 0.03 | 0.03
Mirex (µg/L) |  |  |  | 0.001 | 0.001
Nonylphenol (µg/L) | 6.6 | 6.6 |  | 28 | 28
Parathion (µg/L) | 0.013 | 0.013 |  | 0.066 | 0.066
PCB's (µg/L) | 0.014 | 0.014
Pentachlorophenol (µg/L) | 15 | 15 |  | 19 | 19
Toxephene (µg/L) | 0.0002 | 0.0002 |  | 0.73 | 0.73
Radiological | Maximum Concentration
Parameter | Standard
Gross Alpha (pCi/L) | 15
Effluent Limitations for Protection of Aquatic Wildlife (Class 3D Waters) (R317-2-14.1)
Physical | Concentration
Parameter | Minimum | Maximum
pH | 6.5 | 9
Turbidity Increase (NTU) |  | 15
Temperature (deg C)
Temperature Change (deg C)
Dissolved Oxygen (mg/L) | Minimum Concentration
| ELS Present | Others Present
Instantaneous |  | 3
30-day Average |  | 5
7-day Average
Inorganics |  |  |  | Acute Standard (1 Hour Average)
Parameter |  |  |  | Standard
Phenol (mg/L) |  |  |  | 0.01
Hydrogen Sulfide (Undissociated) [mg/L] |  |  |  | 0.002
Total Residual Chlorine (mg/L) | 0.011 |  |  | 0.019
Ammonia-Total (mg/L)
| Chronic (30-day ave) |  |  | Acute (1-hour ave)
ELS Present
Season | Standard | Background | Limit | Standard | Background | Limit
Summer | 2.2109 |  | 2.2109 | 13.2529 |  | 13.2529
Fall | 2.2109 |  | 2.2109 | 13.2529 |  | 13.2529
Winter | 2.2109 |  | 2.2109 | 13.2529 |  | 13.2529
Spring | 2.2109 |  | 2.2109 | 13.2529 |  | 13.2529
ELS Absent
Season | Standard | Background | Limit | Standard | Background | Limit
Summer | 0 |  | 0 | 0 |  | 0
Fall | 0 |  | 0 | 0 |  | 0
Winter | 0 |  | 0 | 0 |  | 0
Spring | 0 |  | 0 | 0 |  | 0
Metals-Total Recoverable
| Chronic (4-day ave) |  |  | Acute (1-hour ave)
Parameter | Standard1 | Background | Limit | Standard1 | Background | Limit
Aluminum (µg/L) | 87 |  | 87 | 750 |  | 750
Arsenic (µg/L) | 150 |  | 150 | 340 |  | 340
Cadmium (µg/L) | 2.0321 |  | 2.0321 | 6.5405 |  | 6.5405
Chromium VI (µg/L) | 11 |  | 11 | 16 |  | 16
Chromium III (µg/L) | 230.6696 |  | 230.6696 | 1773.2981 |  | 1773.2981
Copper (µg/L) | 29.2794 |  | 29.2794 | 49.6171 |  | 49.6171
Cyanide (µg/L)2 |  |  |  | 22 |  | 22
Iron (µg/L) |  |  |  | 1000 |  | 1000
Lead (µg/L) | 10.9442 |  | 10.9442 | 280.8465 |  | 280.8465
Mercury (µg/L)2 | 0.012 |  | 0.012 | 2.4 |  | 2.4
Nickel (µg/L) | 168.0354 |  | 168.0354 | 1512.89 |  | 1512.89
Selenium (µg/L) | 4.6 |  | 4.6 | 18.4 |  | 18.4
Silver (µg/L) |  |  |  | 34.9109 |  | 34.9109
Tributylin (µg/L)2 | 0.072 |  | 0.072 | 0.46 |  | 0.46
Zinc (µg/L) | 382.4007 |  | 382.4007 | 379.298 |  | 379.298
1: Based upon a Hardness of 400 mg/l as CaCO3
2: Background concentration assumed 67% of chronic standard
Organics [Pesticides]
| Chronic (4-day ave) |  |  | Acute (1-hour ave)
Parameter | Standard | Limit |  | Standard | Limit
Aldrin (µg/L) |  |  |  | 1.5 | 1.5
Chlordane (µg/L) | 0.0043 | 0.0043 |  | 1.2 | 1.2
DDT, DDE (µg/L) | 0.001 | 0.001 |  | 0.55 | 0.55
Diazinon (µg/L) | 0.17 | 0.17 |  | 0.17 | 0.17
Dieldrin (µg/L) | 0.0056 | 0.0056 |  | 0.24 | 0.24
Endosulfan, a & b (µg/L) | 0.056 | 0.056 |  | 0.11 | 0.11
Endrin (µg/L) | 0.036 | 0.036 |  | 0.086 | 0.086
Heptachlor & H. epoxide (µg/L) | 0.0038 | 0.0038 |  | 0.26 | 0.26
Lindane (µg/L) | 0.08 | 0.08 |  | 1 | 1
Methoxychlor (µg/L) |  |  |  | 0.03 | 0.03
Mirex (µg/L) |  |  |  | 0.001 | 0.001
Nonylphenol (µg/L) | 6.6 | 6.6 |  | 28 | 28
Parathion (µg/L) | 0.013 | 0.013 |  | 0.066 | 0.066
PCB's (µg/L) | 0.014 | 0.014
Pentachlorophenol (µg/L) | 15 | 15 |  | 19 | 19
Toxephene (µg/L) | 0.0002 | 0.0002 |  | 0.73 | 0.73
Radiological | Maximum Concentration
Parameter | Standard
Gross Alpha (pCi/L) | 15
Effluent Limitations for Protection of Agricultural Water (Class 4 Waters) (R317-2-14.1)
Physical | Concentration
Parameter | Minimum | Maximum
pH | 6.5 | 9
Metals-Dissolved Maximum
Maximum
Parameter | Standard1 | Background | Limit
Arsenic (µg/L) | 100 |  | 100
Cadmium (µg/L) | 10 |  | 10
Chromium (µg/L) | 100 |  | 100
Copper (µg/L) | 200 |  | 200
Lead (µg/L) | 100 |  | 100
Selenium (µg/L) | 50 |  | 50
Inorganics-Maximum
Maximum
Parameter | Standard1 | Background | Limit
Boron (mg/L) | 0.75 |  | 0.75
Radiological | Maximum Concentration
Parameter | Standard
Gross Alpha (pCi/L) | 15

## Appendix B - NH3 Acute
Appendix B
Freshwater total ammonia criteria based on Title R317-2-14 Utah Administrative Code
Acute
INPUT |  |  |  |  | Revised Stream Standard Calculations 2004 for Ammonia
| Summer | Fall | Winter | Spring | 8.8508 | <---- Class 3A (Acute) | 0.2141 | 8.6367
pH: | 7.75 | 7.75 | 7.75 | 7.75 | 13.2451 | <---- Class 3B, 3C, 3D (Acute) | 0.3122 | 12.9329
Beneficial use classification: | 3B | 3B | 3B | 3B
3A
OUTPUT |  |  |  |  | 3B
3C
Total ammonia nitrogen criteria (mg N/L): |  |  |  |  | 3D
Acute: | 13.2529 | 13.2529 | 13.2529 | 13.2529

## Appendix C - NH3 Chronic
Appendix C
Freshwater total ammonia criteria based on Title R317-2-14 Utah Administrative Code
Chronic
INPUT |  |  |  |  | Revised Stream Standard Calculations 2004 for Ammonia
| Summer | Fall | Winter | Spring | 2.2109 | <---- Early Life Stages Present (Chronic) | 0.030906 | 1.1549 | 1.8645
Temperature (deg C): | 21.1 | 21.1 | 21.1 | 21.1 | 2.2109 | <---- Early Life Stages Absent (Chronic) | 0.030906 | 1.1549 | 1.8645
pH: | 7.75 | 7.75 | 7.75 | 7.75 | 8.8508 | <---- Class 3A (Acute) | 0.2141 | 8.6367
[5 empty] | 13.2451 | <---- Class 3B, 3C, 3D (Acute) | 0.3122 | 12.9329
Are fish early life stages present? | Yes | Yes | Yes | Yes
OUTPUT |  |  |  |  | Yes
No
Total ammonia nitrogen criteria (mg N/L):
Chronic - Fish Early Life Stages Present: | 2.2109 | 2.2109 | 2.2109 | 2.2109
Chronic - Fish Early Life Stages Absent: | 2.2109 | 2.2109 | 2.2109 | 2.2109